SECTION 06400

TITLE: Architectural Millwork

RAUVISIO noir – Monotonic Matte Surface Board

Display hidden notes to specifier by using "Tools"/"Options"/"View"/"Hidden Text".

REHAU Industries LLC – Surface and cabinet door solutions

This section is based on products by REHAU Industriess, which is located at:

1501 Edwards Ferry Road NE
Leesburg, VA 21701

Phone: 703-777-5255

Web: www.na.rehau.com
 
Known in the industry as a leading edging supplier, we've systematically expanded our role in the architectural millwork and woodworking community by providing the latest technology in edging as well as sourcing curated, trend-setting surface and cabinet door solutions for our customers.

- GENERAL

  - SECTION INCLUDES

A.  RAUVISIO noir – Monotonic Matte Surface Board

  - RELATED SECTIONS

* NOTE TO SPECIFIER* Delete any sections below not relevant to this project; add others as required

A. Section 06410 – Custom Cabinets

B. Section 12320 – Manufactured Wood Casework

C. Section 12350 – Specialty Casework

  - SUBMITTALS

    - Submit under provisions of Section 01300

    - Manufacturer’s data sheets on product being used.

1.  Technical Specification Guide

  - QUALITY ASSURANCE

A.    Installer Qualifications: Cabinet/Millwork Professional

  - DELIVERY, STORAGE, AND HANDLING

    - Store products in manufacturer’s unopened packaging until ready for installation.

    - Store in dry, protected, well-ventilated area and protect from damage.

    - Store away from dust and debris.

  - PROJECT CONDITIONS

A. 	Maintain environmental conditional (temperature, humidity, and ventilation) within limits recommended by manufacturer for optimal results.  Do not install products under environmental conditions outside manufacturer’s absolute limits.

  - WARRANTY

A. Provide manufacturer’s limited lifetime warranty

- PRODUCTS

  - MANUFACTURERS

    - Acceptable Manufacturer: REHAU Industries LLC, located at: 1501 Edwards Ferry Road NE 
Leesburg, VA 20176 | Tel: (703) 777-5255 | Email: info@rehau.com | Website: www.na.rehau.com/surfaces

** NOTE TO SPECIFIER **  Delete one of the following two paragraphs; coordinate with requirements of Division 1 section on product options and substitutions.

B.	Substitutions:  Not permitted.

C.	Requests for substitutions will be considered in accordance with provisions of Section 01600.

  - RAUVISIO noir – Monotonic Matte Surface Board by REHAU Industries

A. 	Approved Product: REHAU’s RAUVISIO noir – Monotonic Matte Surface Board

1. RAUVISIO noir ™ Monotonic Matte Surface Board fabricated by approved fabricator

** NOTE TO SPECIFIER **  Delete the RAUVISIO noir Color & Code not required in project

a. 19mm RAUVISIO noir Monotonic Matte Board After Dark 154708

b. 19mm RAUVISIO noir Monotonic Matte Board Boxcar Blonde 154714

c. 19mm RAUVISIO noir Monotonic Matte Board Capital Starlit 154706

d. 19mm RAUVISIO noir Monotonic Matte Board Casa Blanca 154705

e. 19mm RAUVISIO noir Monotonic Matte Board Gaslit Alley 154712

f. 19mm RAUVISIO noir Monotonic Matte Board Hi Low 154707

g. 19mm RAUVISIO noir Monotonic Matte Board Maltese Mist 154704

h. 19mm RAUVISIO noir Monotonic Matte Board Midnight Dash 154713

i. 19mm RAUVISIO noir Monotonic Matte Board Olive Detour 154715

j. 19mm RAUVISIO noir Monotonic Matte Board Silver Lake 154709

k. 19mm RAUVISIO noir Monotonic Matte Board Smoke Stack 154710

l. 19mm RAUVISIO noir Monotonic Matte Board Trench Coat 154711

  - RAUVISIO noir – matching edgebanding by REHAU Industries

A. 	Approved Product: REHAU LaserEdge™ edgebanding

1.  RAUVISIO noir™ Elegant Matte REHAU LaserEdge™ edgebanding, fabricated by approved manufacturer

** NOTE TO SPECIFIER **  Delete the RAUVISIO noir Color & Code not required in project

a. 28 x 1.2mm REHAU LaserEdge Edel matte After Dark 140339

b. 28 x 1.2mm REHAU LaserEdge Edel matte Boxcar Blonde 140958

c. 28 x 1.2mm REHAU LaserEdge Edel matte Capital Starlit 140038

d. 28 x 1.2mm REHAU LaserEdge Edel matte Casa Blanca 78919

e. 28 x 1.2mm REHAU LaserEdge Edel matte Gaslit Alley 71436

f. 28 x 1.2mm REHAU LaserEdge Edel matte Hi Low 78828

g. 28 x 1.2mm REHAU LaserEdge Edel matte Maltese Mist 140986

h. 28 x 1.2mm REHAU LaserEdge Edel matte Midnight Dash 140622

i. 28 x 1.2mm REHAU LaserEdge Edel matte Olive Detour 140607

j. 28 x 1.2mm REHAU LaserEdge Edel matte Silver Lake 71407

k. 28 x 1.2mm REHAU LaserEdge Edel matte Smoke Stack 140614

l. 28 x 1.2mm REHAU LaserEdge Edel matte Trench Coat 140337

PART 3   	 EXECUTION

  - EXAMINATION

A. 	Do not begin installation until all products are properly prepared and hardware installed.

3.2      INSTALLATION

A.	 Install in accordance to manufacturer’s instructions using screw on European concealed hinges.

3.3	PROTECTION

    - Protect installed product until completion of project.

    - Remove peel coat after installation of product.

END OF SECTION