SECTION 06400

TITLE: Architectural Millwork

RAUVISIO crystal – Polymer Back Painted Glass Slab Cabinet Doors

Element Designs Inc. – Custom& functional aluminum frame glass products

This section is based on products by Element Designs, which is located at:

235 Crompton Street

Charlotte, NC 28732

Toll Free: 877-32203396

Phone: 704-332-3114

Fax: 704-332-3267

Web: www.element-designs.com

E-mail: info@element-designs.com
 
Element Designs is the leading manufacturer of aluminum frame glass cabinet doors & illuminated aluminum frame LED panels.  All products are custom manufactured to the specifier's requirements.  Element Designs’ manufacturing plant is in Charlotte, NC and ships product throughout North America through a network of 100 dependable distributors.

- GENERAL

  - SECTION INCLUDES

A.  RAUVISIO crystal – Polymer Back Painted Glass Slab Cabinet Doors

  - RELATED SECTIONS

* NOTE TO SPECIFIER* Delete any sections below not relevant to this project; add others as required

A. Section 06410 – Custom Cabinets

B. Section 12320 – Manufactured Wood Casework

C. Section 12350 – Specialty Casework

  - SUBMITTALS

    - Submit under provisions of Section 01300

    - Manufacturer’s data sheets on product being used.

1.  Technical Specification Guide

  - QUALITY ASSURANCE

A.    Installer Qualifications: Cabinet/Millwork Professional

  - DELIVERY, STORAGE, AND HANDLING

    - Store products in manufacturer’s unopened packaging until ready for installation.

    - Store in dry, protected, well-ventilated area and protect from damage.

  - PROJECT CONDITIONS

A. 	Maintain environmental conditional (temperature, humidity, and ventilation) within limits recommended by 	manufacturer for optimal results.  Do not install products under environmental conditions outside manufacturer’s 	absolute limits.

  - WARRANTY

A. Provide manufacturer’s warranty

- PRODUCTS

  - MANUFACTURERS

    - Acceptable Manufacturer: REHAU Industries LLC, located at: 1501 Edwards Ferry Road NE 
Leesburg, VA 20176 | Tel: (703) 777-5255 | Email: info@rehau.com | Website: www.na.rehau.com/cabinetdoors

** NOTE TO SPECIFIER **  Delete one of the following two paragraphs; coordinate with requirements of Division 1 section on product options and substitutions.

B.	Substitutions:  Not permitted.

C.	Requests for substitutions will be considered in accordance with provisions of Section 01600.

  - RAUVISIO crystal – Polymer Back Painted Glass Slab Cabinet Doors by REHAU Industries

A. 	Approved Product: REHAU’s RAUVISIO crystal Cabinet Doors and Drawer Fronts

1.  RAUVISIO crystal™ Polymer Back Painted Glass Slab Cabinet Doors, fabricated by REHAU Cabinet Doors

a. 19mm (3/4”)   RAUVISIO crystal polymer back painted glass slab cabinet door V2778 – Bianco

b. 19mm (3/4”)   RAUVISIO crystal polymer back painted glass slab cabinet door V2892 – Perla

c. 19mm (3/4”)   RAUVISIO crystal polymer back painted glass slab cabinet door 73703 – Magnolia

d. 19mm (3/4      RAUVISIO crystal polymer back painted glass slab cabinet door 1683L– Corniola

e. 19mm (3/4”)   RAUVISIO crystal polymer back painted glass slab cabinet door 1684L – Menta

f. 19mm (3/4”)    RAUVISIO crystal polymer back painted glass slab cabinet door 1685L – Azzurro

h. 19mm (3/4”)   RAUVISIO crystal polymer back painted glass slab cabinet door 1686L – Fumo

i. 19mm (3/4”)    RAUVISIO crystal polymer back painted glass slab cabinet door 1687L – Sabbia

j. 19mm (3/4”)    RAUVISIO crystal polymer back painted glass slab cabinet door 1753L – Moro

k. 19mm (3/4”)   RAUVISIO crystal polymer back painted glass slab cabinet door 1910L– Nebbia

l. 19mm (3/4”)    RAUVISIO crystal polymer back painted glass slab cabinet door 1923L– Zucchero

PART 3   	 EXECUTION

  - EXAMINATION

A. 	Do not begin installation until all products are properly prepared and hardware installed.

3.2      INSTALLATION

A.	 Install in accordance to manufacturer’s instructions using screw on European concealed hinges.

3.3	PROTECTION

    - Protect installed product until completion of project.

    - Remove peel coat after installation of product.

END OF SECTION