SECTION 06400

TITLE: Architectural Millwork

RAUVISIO crystal – Polymer Back Painted Glass Panel

Element Designs Inc. – Custom& functional aluminum frame glass products

This section is based on products by Element Designs, which is located at:

235 Crompton Street

Charlotte, NC 28732

Toll Free: 877-32203396

Phone: 704-332-3114

Fax: 704-332-3267

Web: www.element-designs.com

E-mail: info@element-designs.com
 
Element Designs is the leading manufacturer of aluminum frame glass cabinet doors & illuminated aluminum frame LED panels.  All products are custom manufactured to the specifier's requirements.  Element Designs’ manufacturing plant is in Charlotte, NC and ships product throughout North America through a network of 100 dependable distributors.

- GENERAL

  - SECTION INCLUDES

A.  RAUVISIO crystal – Polymer Back Painted Glass Panel

  - RELATED SECTIONS

* NOTE TO SPECIFIER* Delete any sections below not relevant to this project; add others as required

A. Section 06410 – Custom Cabinets

B. Section 12320 – Manufactured Wood Casework

C. Section 12350 – Specialty Casework

  - SUBMITTALS

    - Submit under provisions of Section 01300

    - Manufacturer’s data sheets on product being used.

1.  Technical Specification Guide

  - QUALITY ASSURANCE

A.    Installer Qualifications: Cabinet/Millwork Professional

  - DELIVERY, STORAGE, AND HANDLING

    - Store products in manufacturer’s unopened packaging until ready for installation.

    - Store in dry, protected, well-ventilated area and protect from damage.

    - Store away from dust and debris.

  - PROJECT CONDITIONS

A. 	Maintain environmental conditional (temperature, humidity, and ventilation) within limits recommended by 	manufacturer for optimal results.  Do not install products under environmental conditions outside manufacturer’s 	absolute limits.

  - WARRANTY

A. Provide manufacturer’s warranty

- PRODUCTS

  - MANUFACTURERS

    - Acceptable Manufacturer: REHAU Industries LLC, located at: 1501 Edwards Ferry Road NE 
Leesburg, VA 20176 | Tel: (703) 777-5255 | Email: info@rehau.com | Website: www.na.rehau.com/surfaces

** NOTE TO SPECIFIER **  Delete one of the following two paragraphs; coordinate with requirements of Division 1 section on product options and substitutions.

B.	Substitutions:  Not permitted.

C.	Requests for substitutions will be considered in accordance with provisions of Section 01600.

  - RAUVISIO crystal – Polymer Back Painted Glass Panel by REHAU Industries

A. 	Approved Product: REHAU’s RAUVISIO crystal Polymer Back Painted Glass Panel

1.  RAUVISIO crystal™ Polymer Back Painted Glass Panel, fabricated by approved fabricator

** NOTE TO SPECIFIER **  Delete the PARAPAN Color & Code not required in project

a. 19mm (3/4”)   RAUVISIO crystal polymer back painted glass panel V2778 – Bianco

b. 19mm (3/4”)   RAUVISIO crystal polymer back painted glass panel V2892 – Perla

c. 19mm (3/4”)   RAUVISIO crystal polymer back painted glass panel 73703 – Magnolia

d. 19mm (3/4      RAUVISIO crystal polymer back painted glass panel 1683L– Corniola

e. 19mm (3/4”)   RAUVISIO crystal polymer back painted glass panel 1684L – Menta

f. 19mm (3/4”)    RAUVISIO crystal polymer back painted glass panel 1685L – Azzurro

h. 19mm (3/4”)   RAUVISIO crystal polymer back painted glass panel 1686L – Fumo

i. 19mm (3/4”)    RAUVISIO crystal polymer back painted glass panel 1687L – Sabbia

j. 19mm (3/4”)    RAUVISIO crystal polymer back painted glass panel 1753L – Moro

k. 19mm (3/4”)   RAUVISIO crystal polymer back painted glass panel 1910L– Nebbia

l. 19mm (3/4”)    RAUVISIO crystal polymer back painted glass panel 1923L– Zucchero

  - RAUVISIO crystal – matching edgebanding by REHAU Industries

A. 	Approved Product: REHAU LaserEdge™ edgebanding

1.  RAUVISIO crystal™ Polymer Back Painted Glass Panel REHAU LaserEdge™ Edgebanding, fabricated by approved manufacturer

** NOTE TO SPECIFIER **  Delete the PARAPAN Color & Code not required in project

a. 23 x 1.5mm REHAU LaserEdge Duo Design 2632E- Bianco

b. 23 x 1.5mm REHAU LaserEdge Duo Design 2385E- Perla

c. 23 x 1.5mm REHAU LaserEdge Duo Design 2826E – Magnolia

d. 23 x 1.5mm REHAU LaserEdge Duo Design 3166E– Corniola

e. 23 x 1.5mm REHAU LaserEdge Duo Design 3167E – Menta

f. 23 x 1.5mm REHAU LaserEdge Duo Design 3168E – Azzurro

h. 23 x 1.5mm REHAU LaserEdge Duo Design 3169E – Fumo

i. 23 x 1.5mm REHAU LaserEdge Duo Design 3170E – Sabbia

j. 23 x 1.5mm REHAU LaserEdge Duo Design 1753L – Moro

k. 23 x 1.5mm REHAU LaserEdge Duo Design 1910L– Nebbia

l. 23 x 1.5mm REHAU LaserEdge Duo Design 1923L– Zucchero

PART 3   	 EXECUTION

  - EXAMINATION

A. 	Do not begin installation until all products are properly prepared and hardware installed.

3.2      INSTALLATION

A.	 Install in accordance to manufacturer’s instructions using screw on European concealed hinges.

3.3	PROTECTION

    - Protect installed product until completion of project.

    - Remove peel coat after installation of product.

END OF SECTION