SECTION 06400

TITLE: Architectural Millwork

RAUVISIO crystal slim – Polymer Back Painted Glass Panel

Element Designs Inc. – Custom& functional aluminum frame glass products

This section is based on products by Element Designs, which is located at:

235 Crompton Street

Charlotte, NC 28732

Toll Free: 877-32203396

Phone: 704-332-3114

Fax: 704-332-3267

Web: www.element-designs.com

E-mail: info@element-designs.com
 
Element Designs is the leading manufacturer of aluminum frame glass cabinet doors & illuminated aluminum frame LED panels.  All products are custom manufactured to the specifier's requirements.  Element Designs’ manufacturing plant is in Charlotte, NC and ships product throughout North America through a network of 100 dependable distributors.

- GENERAL

  - SECTION INCLUDES

A.  RAUVISIO crystal slim – Polymer Back Painted Glass Panel

  - RELATED SECTIONS

* NOTE TO SPECIFIER* Delete any sections below not relevant to this project; add others as required

A. Section 06410 – Custom Cabinets

B. Section 12320 – Manufactured Wood Casework

C. Section 12350 – Specialty Casework

  - SUBMITTALS

    - Submit under provisions of Section 01300

    - Manufacturer’s data sheets on product being used.

1.  Technical Specification Guide

  - QUALITY ASSURANCE

A.    Installer Qualifications: Cabinet/Millwork Professional

  - DELIVERY, STORAGE, AND HANDLING

    - Store products in manufacturer’s unopened packaging until ready for installation.

    - Store in dry, protected, well-ventilated area and protect from damage.

    - Store away from dust and debris.

  - PROJECT CONDITIONS

A. 	Maintain environmental conditional (temperature, humidity, and ventilation) within limits recommended by 	manufacturer for optimal results.  Do not install products under environmental conditions outside manufacturer’s 	absolute limits.

  - WARRANTY

A. Provide manufacturer’s warranty

- PRODUCTS

  - MANUFACTURERS

    - Acceptable Manufacturer: REHAU Industries LLC, located at: 1501 Edwards Ferry Road NE 
Leesburg, VA 20176 | Tel: (703) 777-5255 | Email: info@rehau.com | Website: www.na.rehau.com/surfaces

** NOTE TO SPECIFIER **  Delete one of the following two paragraphs; coordinate with requirements of Division 1 section on product options and substitutions.

B.	Substitutions:  Not permitted.

C.	Requests for substitutions will be considered in accordance with provisions of Section 01600.

  - RAUVISIO crystal slim – Polymer Back Painted Glass Panel by REHAU Industries

A. 	Approved Product: REHAU’s RAUVISIO crystal Polymer Back Painted Glass Panel

1.  RAUVISIO crystal slim™ Polymer Back Painted Glass Panel, fabricated by approved fabricator

** NOTE TO SPECIFIER **  Delete the PARAPAN Color & Code not required in project

a. 4mm thick   RAUVISIO crystal polymer back painted glass panel V2778 – Bianco

b. 4mm thick   RAUVISIO crystal polymer back painted glass panel V2892 – Perla

c. 4mm thick   RAUVISIO crystal polymer back painted glass panel 73703 – Magnolia

d. 4mm thick   RAUVISIO crystal polymer back painted glass panel 1683L– Corniola

e. 4mm thick   RAUVISIO crystal polymer back painted glass panel 1684L – Menta

f. 4mm thick   RAUVISIO crystal polymer back painted glass panel 1685L – Azzurro

h. 4mm thick   RAUVISIO crystal polymer back painted glass panel 1686L – Fumo

i. 4mm thick   RAUVISIO crystal polymer back painted glass panel 1687L – Sabbia

j. 4mm thick   RAUVISIO crystal polymer back painted glass panel 1753L – Moro

k. 4mm thick   RAUVISIO crystal polymer back painted glass panel 1910L– Nebbia

l. 4mm thick   RAUVISIO crystal polymer back painted glass panel 1923L– Zucchero

PART 3   	 EXECUTION

  - EXAMINATION

A. 	Do not begin installation until all products are properly prepared and hardware installed.

3.2      INSTALLATION

A.	 Install in accordance to manufacturer’s instructions using polymer hybrid adhesive.

3.3	PROTECTION

    - Protect installed product until completion of project.

    - Remove peel coat after installation of product.

END OF SECTION